## Slide 1: 2-D unfolding of SuN matrices A status report
Magne Guttormsen
Department of Physics
University of Oslo, Norway

## Slide 2
SuN
Total Absorption
Spectrometer (TAS)
@MSU
b-Oslo method

## Slide 3: One crystal NaI response function
Photo-electric
effect
Compton
scattering
Pair
production
Back-scattering (Pb)
Threshold

## Slide 4: The unfolding algorithm
We know how to fold:

## Slide 5: Ex = S Eg NaI response function
Full-energy
peak
Electrons from
b decay
Compton, se, de,
511, back-sc. Etc.

## Slide 6: Dependence on Ex and Mg ( GEANT4 simulations by Artemis Spyrou )
Ex = 3 MeV
Mg = 2
Ex = 6 MeV
Mg = 3
Ex = 9 MeV
Mg = 4
Ex = 6 MeV
Mg = 2
Mg = 3
Mg = 4

## Slide 7: Multiplicity interpolation
Weigths:
wm1 = (m2 - m)/(m2 - m1)
wm2 = 1 - wm1
For all h’s at the same Ex:
h(e) = wm1 hm1(e) + wm2 hm2 (e)

## Slide 8
h1
h
h2
e1
e
e2
emax1
emax2
emax
Channel energy:
e1 = e (emax1 /emax)
e2 = e (emax2 /emax)
Weigths:
we1 = (emax2 - e)/(emax2 - emax1)
we2 = 1 - w1
h(e) = we1 h1(e1) + we2 h2(e2)
Ex interpolation below the full-energy peak

## Slide 9: Ex interpolation above the full-energy peak
h1
h
h2
e1
e
e2
emax
emin1
emin
emin2
emax = 12 MeV
Channel energy:
e1 = emin1+(e-emin)(emax- emin1)/(emax- emin)
e2 = emin2+(e-emin)(emax- emin2)/(emax- emin)
h(e) = we1 h1(e1) + we2 h2(e2)

## Slide 10: The Ex-response matrix

## Slide 11: The x-axis (Eg)
U0 Fx (U0) Ux (Fx (U0))

## Slide 12: The y-axis (Ex)
U0 Fy (U0) Uy (Fy (U0))

## Slide 13: The xy-axis (Eg,Ex)
Fy (Fx (U0 )) Uy (Fy (Fx (U0 ))) Ux (Uy (Fy (Fx (U0 ))))
U0

## Slide 14: Was it that simple?
No!!!

## Slide 15: xy – dependence: Fxy is not = FxFy
Ex
Eg
76Ge

## Slide 16: Thank you !
Mr. Osbome,
may I be excused?
My brain is full.